## Sheet1
WMATA ITEM ID | DESCRIPTION | UOM | MFR Name | MFR P/N | Your P/N quoted | Lead Time (Days) | Vendor Comments | Estimated Yearly Qty | Base Year Price per UOM | Option Year 1 Price per UOM | Option Year 2 Price per UOM | Option Year 3 Price per UOM | Option Year 4 Price per UOM | Example of an Approved Part #1 (Supplier/Suplier's Part Number) |  | Example of an Approved Part # 2 (Supplier/Suplier's Part Number) |  | Example of an Approved Part # 3 (Supplier/Suplier's Part Number) |  | Example of an Approved Part # 4 (Supplier/Suplier's Part Number) |  | Example of an Approved Part # 5 (Supplier/Suplier's Part Number) |  | Example of an Approved Part # 6 (Supplier/Suplier's Part Number) |  | Example of an Approved Part # 7 (Supplier/Suplier's Part Number) |  | Example of an Approved Part # 8 (Supplier/Suplier's Part Number) |  | Example of an Approved Part # 9 (Supplier/Suplier's Part Number)
R38100012 | PUMP,HYDRAULIC:FITS ELEVATOR | EA | [5 empty] | 5 | [5 empty] | Adams Elevator Company | 196C199H01 | Adams Elevator Company | 3-40257-01 | Quality Elevator Products | G3DB-187
R38100016 | DETECTOR:DOOR OPEN/CLOSE | EA | [5 empty] | 24 | [5 empty] | Janus Elevator Products Inc. | E40/32 | P C X-Change Inc | AMERICAN EAGLE #1
R38100080 | GIB:DOOR PIVOT,ELEVATOR | EA | [5 empty] | 30 | [5 empty] | Adams Elevator Company | D-910A
R38100083 | ROLLER,ELEVATOR:PICK-UP ASSEMBLY,FITS HOISTWAY DOOR LOCK | EA | [5 empty] | 5 | [5 empty] | Adams Elevator Company | 9875256 | Certified Elevator & Escalator | D-D01L | Southern Elevator & Electric | DW-1A | TEPCO Elevator Parts | 9875256 | TEPCO Elevator Parts | D-D01L
R38100092 | OPERATOR,SWITCH:EMERGENCY STOP/PULL TO RUN BUTTON,RED,SAFETY SYSTEM | EA | [5 empty] | 8 | [5 empty] | Adams Elevator Company | W471A1 | Schindler Elevator Corporation | 325C805G01
R38100238 | LUBRICANT:HYDRAULIC OIL,5 GAL PAIL | PA | [5 empty] | 285 | [5 empty] | American Oil & Supply Co | 71007 C1 | Fuchs Lubricants Co | 65031400026 | Mid Atlantic Chemical Corp | 65031400026 | Mid Atlantic Chemical Corp | VITALUBE | United Oil Co. | 3103 | United Oil Co. | 65031400026 | United Oil Co. | ZD AW ISO 32
R38100239 | CLEANER:FLUID,5 GAL,CERTIFICATION MSDS 14026 | CN | [5 empty] | 736 | [5 empty] | Fuchs Lubricants Co | 65074600026
R38100455 | SWITCH,ELEVATOR:20AMP 250V | EA | [5 empty] | 4 | [5 empty] | Quality Elevator Products | PS-2
R38100456 | SHIM:1/32 IN THK,ELEVATOR RAIL | PK | [5 empty] | 6 | [5 empty] | Quality Elevator Products | RS37
R38100457 | SHIM:1/16 IN THK,ELEVATOR RAIL | PK | [5 empty] | 25 | [5 empty] | Quality Elevator Products | RS538
R38100471 | FAN:3-SPEED EXHAUST,ELEVATOR | EA | [5 empty] | 4 | [5 empty] | Adams Elevator Company | XNL0E-3 | Nylube Products Company | XNL0E-3
R38100555 | COUPLING:HYDRO GAUGE ASSEMBLY,3/8 IN | EA | [5 empty] | 16 | [5 empty] | Lonsdale & Holtzman Sales, Inc. | TH3-21/TK321 | Southern Elevator & Electric | FD45 (3/8)
R38100559 | BELL:ALARM,6 IN,FITS ELEVATOR | EA | [5 empty] | 4 | [5 empty] | Quality Elevator Products | AB120 | Southern Elevator & Electric | AB120 | TEPCO Elevator Parts | AB120
R38100591 | TAPE, SAFETYBARRIER: DESIGNATION: CAUTION DO NOT STEP, FITS: ELEVATOR, LAYOUT: 1-1/2 IN BLACK LETTERS ON YELLOW BACKGROUND, MATERIAL: PLASTIC, SIZE: 3 IN X 1000 FT | RL | [5 empty] | 9 | [5 empty] | Seton Name Plate Corporation | 9739B | TEPCO Elevator Parts | 36082
R38100602 | SIGN:CAB,FIRE/EMERGENCY,6 IN X 6 IN,ELEVATOR | EA | [5 empty] | 3 | [5 empty] | Quality Elevator Products | F-1005-G-0
R38100680 | DETECTOR:PHOTO EYE,FITS MODEL TWIN BEAM II, DOORS | EA | [5 empty] | 4 | [5 empty] | Adams Elevator Company | SLIM P40 CO MK2 | Janus Elevator Products Inc. | SLIM P40 CO MK2 | TEPCO Elevator Parts | SLIM P40 CO MK2
R38100681 | ABRASIVE:COMMUTATOR,2 IN,220 GRIT,PAPER BACKING | EA | [5 empty] | 4 | [5 empty] | Martindale Electric Company | 220 | Martindale Electric Company | COMP02X220
R38100750 | OPERATOR,SWITCH:PUSHBUTTON ASSEMBLY,BLACK,ELEVATOR | EA | [5 empty] | 2 | [5 empty] | Southern Elevator & Electric | MIS-196 | TEPCO Elevator Parts | MIS-196
R38100772 | BRUSH,ELECTRICAL:MOTOR IMPERIAL | EA | [5 empty] | 1 | [5 empty] | National Electrical Carbon Pro | E56019
R38100784 | ROLLER,ELEVATOR:PICK-UP ASSEMBLY | EA | [5 empty] | 2 | [5 empty] | Certified Elevator & Escalator |  | Southern Elevator & Electric |  | OLD PN | GDO-13
R38100786 | BATTERY,PACK:6VDC | EA | [5 empty] | 4 | [5 empty] | Elevator Products Corporation | 1002-43-03
R38100821 | ASTRAGAL, HOISTWAYDOOR: CONTACT WIDTH: 17/32-IN RADIUS, FLANGE ANGLE: 45-DEGREES, LENGTH: 7-FT, MATERIAL: RUBBER, TYPE: FEMALE, USED ON: CENTER AND SIDE OPENING, WIDTH: 7/8-IN | EA | [5 empty] | 6 | [5 empty] | Quality Elevator Products | A134
R38100822 | ASTRAGAL, HOISTWAYDOOR: CONTACT WIDTH: 17/32-IN RADIUS, FLANGE ANGLE: 45-DEGREES, HEIGHT: 9/16-IN, LENGTH: 7-FT, MATERIAL: RUBBER, TYPE: MALE, USED ON: CENTER AND SIDE OPENING | EA | [5 empty] | 8 | [5 empty] | Quality Elevator Products | A133 | Tektronics Electronics Components, Inc. | A133
R38100952 | TRANSFORMER, CONTROL: FREQUENCY: 60HZ, KVA RATING: 1, PHASE: 1, VOLTAGE: 480V PRI/ 120V SEC | EA | [5 empty] | 2 | [5 empty] | Motion Control Engineering | 38-01-0040 | TEPCO Elevator Parts | 38-01-0040
R38100955 | SIGN,LETTER/NUMERAL:BRAILLE,LETTER-M,SS | EA | [5 empty] | 72 | [5 empty] | Adams Elevator Company | A451B-M | Quality Elevator Products | A451B-M
R38100957 | SIGN,LETTER/NUMERAL:BRAILLE,LETTER-T,SS | EA | [5 empty] | 86 | [5 empty] | Adams Elevator Company | A451B-T | Quality Elevator Products | A451B-T
R38100959 | SIGN,LETTER/NUMERAL:BRAILLE,LETTER-M,BRONZE | EA | [5 empty] | 23 | [5 empty] | Adams Elevator Company | A451E-M | Quality Elevator Products | A451E-M
R38100961 | SIGN,LETTER/NUMERAL:BRAILLE,LETTER-T,BRONZE | EA | [5 empty] | 18 | [5 empty] | Adams Elevator Company | A451E-T | Quality Elevator Products | A451E-T
R38100962 | SIGN,LETTER/NUMERAL:BRAILLE,STAR,BRONZE | EA | [5 empty] | 13 | [5 empty] | Adams Elevator Company | A451E-X | Quality Elevator Products | A451E-X
R38100979 | ENCODER:12V | EA | [5 empty] | 2 | [5 empty] | Kone Inc | US63099-001
R38100985 | BOARD,PRINTED CIRCUIT:MSU INTERFACE | EA | [5 empty] | 4 | [5 empty] | Kone Inc | USP30387
R38100995 | BOARD,PRINTED CIRCUIT:SIO | EA | [5 empty] | 3 | [5 empty] | Kone Inc | USP31652002
R38100996 | BOARD,PRINTED CIRCUIT:CPU | EA | [5 empty] | 3 | [5 empty] | Adams Elevator Company | P-24873 | Kone Inc | USP31807002
R38101020 | BOARD,PRINTED CIRCUIT: | EA | [5 empty] | 1 | [5 empty] | Motion Control Engineering | MC-PCA-OA | Tektronics Electronics Components, Inc. | MC-PCA-OA-T | ThyssenKrupp Elevator Company | MC-PCA-OA
R38101045 | VALVE,ELEVATOR:HYDRAULIC,115 VAC COIL | EA | [5 empty] | 2 | [5 empty] | Southern Elevator & Electric | UC4E2
R38101069 | GIB, DOOR: ADJUSTABLE: INCREMENTS OF 0.04 IN AND 12 UNIQUE CLOVER-LEAF HOLES, COLOR: RED, FITS: DOR ASSEMBLY, SCREW: 2 INTERNAL #10 GRADE 5 SEMS, USED ON: ELEVATORS, WIDTH: 7/16 IN | EA | [5 empty] | 140 | [5 empty] | Adams Elevator Company | A 908 R100 | Adams Elevator Company | A908R
R38101075 | LOCK:CYLINDER,KEY OPERATED | EA | [5 empty] | 51 | [5 empty] | Blaydes Industries Inc | 4073-1DDC KA7500
R38101078 | LAMP:GUARD | EA | [5 empty] | 3 | [5 empty] | Quality Elevator Products | LGP | ThyssenKrupp Elevator Company | LPG
R38101111 | BOARD,PRINTED CIRCUIT:RELAY | EA | [5 empty] | 1 | [5 empty] | Motion Control Engineering | HC-RBH | Tektronics Electronics Components, Inc. | HC-RB-1YD | ThyssenKrupp Elevator Company | HC-RBH
R38101117 | MOTOR, DOOROPERATOR: CONNECTION: 2 WIRES, FRAME: 56, HP RATING: 1/2HP, RPM: 1140, SHAFT DIAMETER: 5/8IN, USED ON: ELEVATOR DOOR ASSEMBLY, WINDING: PERMANENT MAGNET | EA | [5 empty] | 1 | [5 empty] | Adams Elevator Company | GL-860-C | Gal Manufacturing Corp | MTR-0009N | Gal Manufacturing Corp | MTR-0010N | Southern Elevator & Electric | GDO-24F | ThyssenKrupp Elevator Company | OP-4 MOTOR
R38101123 | BELT,V:DOOR OPERATOR | EA | [5 empty] | 6 | [5 empty] | Gal Manufacturing Corp | HWBL-0001N | TEPCO Elevator Parts | HWBL-0001N | ThyssenKrupp Elevator Company | 2440
R38101134 | SCREW:COVER PLATE | EA | [5 empty] | 15 | [5 empty] | Southern Elevator & Electric | A-701-1087-1 | TEPCO Elevator Parts | A-701-1087-1 | ThyssenKrupp Elevator Company | A-701-1087-2
R38101150 | FUSE:500MAMP | EA | [5 empty] | 12 | [5 empty] | Teknicom Sales Co Inc | FV05.5 | ThyssenKrupp Elevator Company | T30303-0002
R38101156 | SIGN,LETTER/NUMERAL:BRAILLE,LETTER-T,BRUSHED BRONZE | EA | [5 empty] | 9 | [5 empty] | Entrada Inc | VP2-T-US10 | ThyssenKrupp Elevator Company | VP2-T-US10
R38101157 | SIGN,LETTER/NUMERAL:BRAILLE,LETTER-B,NICKEL SS | EA | [5 empty] | 0 | [5 empty] | Entrada Inc | VP2-T-US15 | ThyssenKrupp Elevator Company | VP2-B-US15
R38101174 | CLUTCH:DOOR ASSEMBLY | EA | [5 empty] | 5 | [5 empty] | Certified Elevator & Escalator | CLU3-005IL | Gal Manufacturing Corp | CLU9-002L | Southern Elevator & Electric | CLU3-0051L | Southern Elevator & Electric | CLU9-002L | TEPCO Elevator Parts | CLU-0051L
R38101215 | BELT,V:5VX630,ELEVATOR | EA | [5 empty] | 15 | [5 empty] | Applied Industrial Technologies | 5VX630 | Grainger Industrial Supply | 2L422
R38101232 | ASTRAGAL, HOISTWAYDOOR: CONTACT WIDTH: 19/32-IN, FLANGE: 5/32-IN, HEIGHT: 5/8-IN, LENGTH: 7-FT, MATERIAL: RUBBER, TYPE: MALE, USED ON: CENTER OPENING, WIDTH: 7/8-IN | EA | [5 empty] | 9 | [5 empty] | Adams Elevator Company | A853U1 | Quality Elevator Products | A124 | Quality Elevator Products | A853U1 | Motion Control Engineering | 38-02-0035
R38101238 | TRANSFORMER:DC DRIVE | EA | [5 empty] | 1 | [5 empty] | Adams Elevator Company | 38-02-0035 | Motion Control Engineering | 38-02-0035
R38101245 | BELT:PUMP MOTOR | EA | [5 empty] | 2 | [5 empty] | Unitec Parts Company | 717A3
R38101255 | ROLLER, DOORHANGER: BEARING TYPE: 6203-2RS, FITS: CAR DOOR ASSEMBLY, ROLLER TYPE: POLYURETHANE, SIZE: 3.675 IN OD, TYPE: CAST ALUMINUM, USED ON: ELEVATOR DOOR, WIDTH: 0.75 IN | EA | [5 empty] | 8 | [5 empty] | Adams Elevator Company | M410M | Southern Elevator & Electric | MW-8 | TEPCO Elevator Parts | MW-8
R38101312 | ASSEMBLY:RIGHT HANDCONTACT,CHAIN DRIVE | EA | [5 empty] | 1 | [5 empty] | Adams Elevator Company | SCT315158 | Schindler Elevator Corporation | SCT315158
R38101315 | KEY:DOOR/LUNAR,WESTINGHOUSE ELEVATOR | EA | [5 empty] | 6 | [5 empty] | Adams Elevator Company | W824L
R38101322 | ENCODER:ELEVATOR | EA | [5 empty] | 2 | [5 empty] | E J Varholy & Sons | HC62540960631 | Tektronics Electronics Components, Inc. | HC62540960631
R38300031 | ASSEMBLY:RACK/AXLE, CHAIN AND SHAFT,48 IN CHAIN,BLUE ROLLERS,FITS MODULAR ESCALATOR | EA | [5 empty] | 800 | [5 empty] | Adams Elevator Company | W-2899C48G08 | ECS Corporation | W-2899C48G08 | Precision Escalator Products | PW2899C48G08 | Precision Escalator Products | W-2899C48G08 | Schindler Elevator Corporation | W-2899C48G08
R38300035 | HOSE:FLEXIBLE ASSEMBLY,FITS ESCALATOR | EA | [5 empty] | 4 | [5 empty] | Kone Inc | 0-0097293
R38300062 | ROLLER,ESCALATOR:STEP | EA | [5 empty] | 20 | [5 empty] | Kone Inc | 1973246 | Kone Inc | US519267 | Mac Spares Center | 519267
R38300106 | SWITCH, MICRO: FITS: WETINGHOUSE ESCALATORS, NOTES: SEALED PLUNGER SWITCH, POWER RATING: 15A, 250VAC, RESET: AUTOMATIC RESET, USED ON: SAFETY DEVICES | EA | [5 empty] | 16 | [5 empty] | Adams Elevator Company | W-5063A04H01 | ECS Corporation | W-5063A04H01 | Southern Elevator & Electric | WE-31
R38300109 | TRANSFORMER:FITS ESCALATOR | EA | [5 empty] | 1 | [5 empty] | ECS Corporation | W-5058A18H02 | Schindler Elevator Corporation | W-5058A18H02 | Westinghouse Electric Corp | W-5058A18H02
R38300128 | MOTOR, AC: ENCLOSURE: TEFC, FITS: MOD 100 AND MOD 250, FRAME: 213T, FREQUENCY: 60, LENGTH: 19.5 IN, MOUNT: FOOT, PHASE: 3, POWER: 7-1/2 HP, SHAFT SIZE: 1.375 IN DIA, SPEED: 1175, USED ON: MODULAR DRIVE, VOLTAGE: 480 | EA | [5 empty] | 70 | [5 empty] | Adams Elevator Company | 2630C55H01 | Adams Elevator Company | ECP3770T-4 | Applied Industrial Technologies | ECP3770T-4 | BALDOR ELECTRIC COMPANY | ECP3770T-4 | Central Armature Works Inc | ECP3770T-4 | ECS Corporation | ECP3770T-4 | Henry M Sweeny Company, Inc. | ECP3770T-4 | Schindler Elevator Corporation | ECP3770T-4 | TEPCO Elevator Parts | ECP3770T-4
R38300135 | BELT,V:3VX710,FITS ESCALATOR | EA | [5 empty] | 1 | [5 empty] | Applied Industrial Technologies | 3VX710 | ECS Corporation | W-5211D9H17
R38300185 | LOCK, CYLINDER: MATERIAL: BRASS, SIZE: 1-1/8 IN L, TYPE: 5-PIN SCHLAGE C KEYWAY | EA | [5 empty] | 10 | [5 empty] | Blaydes Industries Inc | ILC7185SC1-03 KD | Blaydes Industries Inc | W-1C108605 | ECS Corporation | W-1C108605 | Schindler Elevator Corporation | W-1C108605
R38300230 | STEP,ESCALATOR:48 IN | EA | [5 empty] | 500 | [5 empty] | ECS Corporation | W-1727C53G02 (OEM) | Precision Escalator Products | W-1727C53G02 (OEM) | Schindler Elevator Corporation | W-1727C53G02 (OEM)
R38300252 | HARDENER:GLUE,ESCALATOR | EA | [5 empty] | 9 | [5 empty] | Certified Elevator & Escalator | 2142639 | ECS Corporation | 2142639 | Kone Inc | 2142639 | Kone Inc | 0-2142639 | Mac Spares Center | 519327
R38300262 | OIL, CHAIN: BOILING POINT: 500 F, CONTAINER: 5 GAL PAIL, FLASH POINT: 200 DEG C MINIMUM, SPECIFICGRAVITY: 0.9 @ 60 F, USED ON: WESTINGHOUSE ESCALATOR DRIVE CHAINS, VISCOSITY: 150 SUS @ 100 F | PA | [5 empty] | 356 | [5 empty] | American Oil & Supply Co | 1084 | Fuchs Lubricants Co | 38-30-0262 | Mid Atlantic Chemical Corp | 38-30-0262 | Mid Atlantic Chemical Corp | MC-R-0262
R38300263 | OIL, GEAR: BOILING POINT: 450 F, CONTAINER: 5 GAL PAIL, DENSITY: 890 KG/M^3, SPECIFICGRAVITY: 0.9 @ 60 F, USED ON: WESTINGHOUSE ESCALATOR GEARS, VISCOSITY: 150 MM^2/S @ 40 C | PA | [5 empty] | 126 | [5 empty] | American Oil & Supply Co | 71001 CI | American Oil & Supply Co | 71001CI | Fuchs Lubricants Co | 360333 | Mid Atlantic Chemical Corp | 360333
R38300276 | SIGN, CAUTION: ADHESIVE: 3M 468, COLOR: YELLOW, BLACK AND WHITE, DIMENSIONS: 4 X 7 3/4 IN (WXH), FITS: ESCALATOR, MATERIAL: 15 MIL GS133, USED ON: LOCATED ON NEWELL | EA | [5 empty] | 209 | [5 empty] | Globe Transportation Graphics | 805.2 | Visual Marking Systems, Inc. | R38-30-0276
R38300277 | SIGN:EMERGENCY STOP BUTTON,4 IN WD X 5-1/2 IN HT,RAISED LETTERS & GRAPHICS,ESCALATOR | EA | [5 empty] | 30 | [5 empty] | Globe Transportation Graphics | 4" WIDE X 5-1/2"H | Visual Marking Systems, Inc. | GTG-E048
R38300280 | DIODE:GLIDE STOP RECTIFIER | EA | [5 empty] | 3 | [5 empty] | Schindler Elevator Corporation | X45ADS4H18 | Southern Elevator & Electric | WE-61
R38300286 | STEP, ESCALATOR: COLOR: BLACK WITH YELLOW DEMARCATIONS, FITS: WESTINGHOUSE MODULAR UNITS, TYPE: FULL ASSEMBLY, WIDTH: 40 IN | EA | [5 empty] | 2000 | [5 empty] | Adams Elevator Company | 5191D42G15 | Certified Elevator & Escalator | W-5191D42G15 | ECS Corporation | W-5191D42G15 | Precision Escalator Products | PW5191D42G15
R38300299 | KIT:HANDRAIL DRIVE ASSEMBLY,CHAIN DRIVE SPROCKET,A03 ESCALATOR | EA | [5 empty] | 2 | [5 empty] | ECS Corporation | W-2633C64G02 | Schindler Elevator Corporation | W-2633C64G02 | Southern Elevator & Electric | W-2633C64G02
R38300304 | BARRICADE, EXPANDINGPORTABLEBARRICADE: BASE WIDTH: 14-IN, COLOR: DOT SAFETY YELLOW & BLACK, ENDPOSTS: INTERLOCKING, EXPANDED: 136-IN, FOLDED: 17-IN, HEIGHT: 36-37-IN, MATERIAL: ALUMINUM/STEEL, WEIGHT: 25-LBS | EA | [5 empty] | 250 | [5 empty] | Kone Inc | VG-1000 | No American Safety Product Inc | VG-1000
R38300312 | GAUGE, BRAKE: FITS: WESTINGHOUSE & MONTGOMERY & KONE UNITS, USED ON: WARNER BRAKE 825 ASSEMBLY | EA | [5 empty] | 67 | [5 empty] | Adams Elevator Company | 694B659H02 | Southern Elevator & Electric | WE-41G
R38300331 | MOUNT, MOTOR: ISOLATION PAD, DEPTH: 1.50 INCHES, FITS: MOTOR MOUNTING BRACKET, LENGTH: 4.00 INCHES, MATERIAL: MOUNTING PLATES ARE MADE OF METAL CONNECTED TOGETHER BY MOLDED RUBBER, USED ON: MOD 100 UNITS, WIDTH: 4.50 INCHES | EA | [5 empty] | 50 | [5 empty] | Adams Elevator Company | 691B873H01 | ECS Corporation | W-691B873H01 | Precision Escalator Products | PW2898C91H01 | Schindler Elevator Corporation | 691B873H01 | Southern Elevator & Electric | WE-89
R38300359 | RING,RETAINING:LH DRIVE,2-7/16 IN,FITS SPROCKET MOD 250 | EA | [5 empty] | 8 | [5 empty] | ECS Corporation | W-X6ZAS1H06(MOD250) | Schindler Elevator Corporation | W-X6ZAS1H06(MOD250) | Southern Elevator & Electric | W-X6ZAS1H06(MOD250)
R38300369 | LIGHT:DIRECTION,FITS MODULAR ESCALATOR | EA | [5 empty] | 5 | [5 empty] | Schindler Elevator Corporation | W-1908
R38300399 | RELAY,TIME DELAY:0.5 SEC-10 MIN,120V AC/DC COIL,FITS GLIDE STOP BRAKE, 2 CONTACTORS. MANUFACTURE ABB. | EA | [5 empty] | 22 | [5 empty] | Adams Elevator Company | X45GS5H15 | Rexel Inc. | CT-ARS.21 | Tektronics Electronics Components, Inc. | CT-ARS.21 | Tektronics Electronics Components, Inc. | CT-ARS-21 | Thermal Devices | CT-ARS.21
R38300412 | BELT:SWITCH DRIVEN ASSEMBLY | EA | [5 empty] | 28 | [5 empty] | Bell Associates | W-4-100-09796 | Schindler Elevator Corporation | 2-120-097-9394 | TEPCO Elevator Parts | 2-120-097-9394
R38300414 | GEARBOX:SPEED REDUCER,MOD 250 ESCALATOR | EA | [5 empty] | 5 | [5 empty] | Adams Elevator Company | 7196D16G08 | Adams Elevator Company | W-7196D16G08 | ECS Corporation | W-7196D16G08 | Schindler Elevator Corporation | W-7196D16G08
R38300435 | FRAME:LIGHT,ESCALATOR | EA | [5 empty] | 9 | [5 empty] | Dayton/Cincinnati Plastics | P-AF6-00620 | Polymer Corp | P-AF6-00620 | SABIC Polymershapes | P-AF6-00620
R38300457 | INSERT,THREADED:THREAD REPAIR,3/8 IN-16 TPI | EA | [5 empty] | 7 | [5 empty] | E-Z Lok | 335-6 | L. A. BENSON CO. INC | 335-6
R38300463 | STEP, ASSEMBLY: FITS: EWE AT D08, MATERIAL: ALUMINUM CASTING, SIZE: 1000MM, TYPE: SILVER WITH GRAY DEMARCATION | EA | [5 empty] | 45 | [5 empty] | ECS Corporation | SDS468609/X | Schindler Elevator Corporation | SDS468609/X
R38300483 | RING, RETAINING: EXTERNAL CIRCLIPS DIN 471 FOR SHAFTS, DIAMETER: 20MM, FITS: STEP ASSEMBLY, MATERIAL: SPRING STEEL, THICKNESS: 1.2MM, TYPE: CIRCLIP, USED ON: MONTGOMERY ESCALATORS | EA | [5 empty] | 100 | [5 empty] | Adams Elevator Company | DIN47111 | Kone Inc | KM272825 | Schindler Elevator Corporation | DIN47111
R38300548 | SENSOR,PROXIMITY: | EA | [5 empty] | 4 | [5 empty] | Kone Inc | 69766-005 | Kone Inc | US97030001
R38300558 | SIGN,LETTER/NUMERAL:RAISED VISUAL BRAILLE,NUMBER-1,3-3/8 IN X 3-1/2 IN X 1/32 IN,BRUSHED LEXAN POLYCARB,WHITE ON BLACK,ESCALATOR | EA | [5 empty] | 43 | [5 empty] | Globe Transportation Graphics | GSP-93-EIM-1-W/B | Visual Marking Systems, Inc. | VMS-K301
R38300559 | SIGN,LETTER/NUMERAL:RAISED VISUAL BRAILLE,NUMBER-2,3-3/8 IN X 3-1/2 IN X 1/32 IN,BRUSHED LEXAN POLYCARB,WHITE ON BLACK,ESCALATOR | EA | [5 empty] | 32 | [5 empty] | Globe Transportation Graphics | GSP-93-EIM-2-W/B | Visual Marking Systems, Inc. | VMS-K302
R38300560 | SIGN,LETTER/NUMERAL:BRAILLE,NUMBER-3,3-3/8 IN X 3-1/2 IN X 1/32 IN,BRUSHED LEXAN POLYCARB,WHITE ON BLACK,ESCALATOR | EA | [5 empty] | 31 | [5 empty] | Globe Transportation Graphics | GSP-93-EIM-3-W/B | Visual Marking Systems, Inc. | VMS-K303
R38300561 | SIGN,LETTER/NUMERAL:RAISED VISUAL BRAILLE,NUMBER-4,3-3/8 IN X 3-1/2 IN X 1/32 IN,BRUSHED LEXAN POLYCARB,WHITE ON BLACK,ESCALATOR | EA | [5 empty] | 30 | [5 empty] | Globe Transportation Graphics | GSP-93-EIM-4-W/B | Visual Marking Systems, Inc. | VMS-K304
R38300562 | SIGN,LETTER/NUMERAL:RAISED VISUAL BRAILLE,NUMBER-5,3-3/8 IN X 3-1/2 IN X 1/32 IN,BRUSHED LEXAN POLYCARB,WHITE ON BLACK,ESCALATOR | EA | [5 empty] | 26 | [5 empty] | Globe Transportation Graphics | GSP-93-EIM-5-W/B | Visual Marking Systems, Inc. | VMS-K305
R38300564 | SIGN,LETTER/NUMERAL:RAISED VISUAL BRAILLE,NUMBER-7,3-3/8 IN X 3-1/2 IN X 1/32 IN,BRUSHED LEXAN POLYCARB,WHITE ON BLACK,ESCALATOR | EA | [5 empty] | 13 | [5 empty] | Globe Transportation Graphics | GSP-93-EIM-7-W/B | Visual Marking Systems, Inc. | VMS-K307
R38300566 | SIGN,LETTER/NUMERAL:RAISED VISUAL BRAILLE,NUMBER-9,3-3/8 IN X 3-1/2 IN X 1/32 IN,BRUSHED LEXAN POLYCARB,WHITE ON BLACK,ESCALATOR | EA | [5 empty] | 11 | [5 empty] | Globe Transportation Graphics | GSP-93-EIM-9-W/B | Visual Marking Systems, Inc. | VMS-K309
R38300570 | SIGN:HOLD HANDRAIL,4 IN SQ,RED LETTERS ON WHITE BACKGROUND,1/4 IN CLEAR PLEXIGLASS | EA | [5 empty] | 33 | [5 empty] | Wm P Gelberg Inc | 4" SQ LETTERS 1/4" | Wm P Gelberg Inc | 4" X " X 1/4"
R38300587 | BEARING,ROLLER:SPHERICAL,FITS MONT ESCALATOR-CPT SO | EA | [5 empty] | 4 | [5 empty] | Kone Inc | US44278
R38300588 | BEARING,ROLLER:SPHERICAL,FITS MONT ESCALATOR-CPT SO | EA | [5 empty] | 2 | [5 empty] | Kone Inc | US44276
R38300591 | INSERT:RISER,SILVER FLK,FITS MONT ESCALATOR-CPT SO | EA | [5 empty] | 52 | [5 empty] | ECS Corporation | US69461104 | Kone Inc | US69461104
R38300593 | INSERT:TREAD,FITS MONT ESCALATOR-CPT SO | EA | [5 empty] | 140 | [5 empty] | ECS Corporation | US69465104 | Kone Inc | 69465-004 | Kone Inc | US69465104 | Kone Inc | W-144A541H01 | TEPCO Elevator Parts | US69465104
R38300594 | INSERT:TREAD,FITS MONT ESCALATOR-CPT SO | EA | [5 empty] | 80 | [5 empty] | ECS Corporation | US69463104 | Kone Inc | US69463104
R38300595 | INSERT,THREADED:MONTGOMERY ESCALATOR CPT.SO | EA | [5 empty] | 90 | [5 empty] | ECS Corporation | 69464-004 | ECS Corporation | US69464104 | Kone Inc | 69464-004 | Kone Inc | US69464104 | TEPCO Elevator Parts | US69464104
R38300598 | STEP, CAST: COLOR: UNFINISHED, FITS: MONTGOMERY-KONE ESCALATORS, MATERIAL: CAST 5E ALUMINUM, NOSE: YELLOW DEMARCATION, ROLLER: 22.2 MM WITH GROOVE BALL BEARINGS, SHAFT: THRU-AXLE, USED ON: REPLACEMENT STEP | EA | [5 empty] | 5 | [5 empty] | ECS Corporation | USP32405021 | Kone Inc | USP32405011 | Kone Inc | USP32405021
R38300617 | FUSE:FITS MONT ESCALATOR-CPT SO | EA | [5 empty] | 4 | [5 empty] | Kone Inc | 90177-004 | TEPCO Elevator Parts | 90177-004
R38300625 | SWITCH,ESCALATOR:EMERGENCY STOP | EA | [5 empty] | 4 | [5 empty] | Kone Inc | P-23975 | Kone Inc | USP23975
R38300627 | SWITCH,ESCALATOR:MICRO | EA | [5 empty] | 3 | [5 empty] | ECS Corporation | M-94653-001 | Kone Inc | US94653001
R38300670 | SET:SPACER/WASHER | EA | [5 empty] | 1 | [5 empty] | Kone Inc | 07-06-1026- PL | Kone Inc | DEE07061026
R38300712 | UNIT:EMERGENCY STOP | EA | [5 empty] | 1 | [5 empty] | Innovative Automation and Controls | 8243-028H | TEPCO Elevator Parts | 8243-028H
R38300760 | COMBPLATE, STEPGUIDE: COLOR: BLACK, FITS: O&K SMITHSONIAN ESCALATORS, LOCATION: COMBPLATE ENTRY AREA, MATERIAL: WOOD AND PLASTIC, USED ON: STEP GUIDE TRACK | EA | [5 empty] | 16 | [5 empty] | Kone Inc | 1704652 | Kone Inc | DEE1704652
R38300773 | LAMP,FLUORESCENT:T5 BULB,COOL WHITE | EA | [5 empty] | 250 | [5 empty] | Certified Elevator & Escalator | US34376 | ECS Corporation | US34376 | Kone Inc | 0002235 | Kone Inc | US34376 | TEPCO Elevator Parts | US34376
R38300782 | SWITCH, LIMIT: ACTUATOR: PLUNGER, CONTACT ARRANGEMENT: 2 NC, DIMENSIONS: 40 X 40 X 108 MM (WXDXH), ELECTRICAL RATING: 240V 3A, ENCLOSURE: IP67, FITS: MONTGOMERY AND KONE ESCALATORS, OPERATING TEMPERATURE: -20 TO 60 DEGC, USED ON: BROKEN HANDRAIL AND | EA | [5 empty] | 2 | [5 empty] | Kone Inc | US519660 | Mouser Electronics | 996-XCKJ261 | Mouser Electronics | XCKJ261
R38300789 | STEP:ASSEMBLY,1000MM | EA | [5 empty] | 25 | [5 empty] | Kone Inc | 2145480 | Kone Inc | DEE1701757 | Mac Spares Center | 519549 | Mac Spares Center | DEE1701757
R38300811 | COMB, ESCALATOR: COLOR: YELLOW, CENTER COMB FOR SCHINDLER, FITS: SCHINDLER 9300, MATERIAL: ALUMINUM, NOTES: NO GROOVE TO ACCOMMODATE HEATER, POSITION: CENTER, USED ON: COMB PLATE | EA | [5 empty] | 97 | [5 empty] | Adams Elevator Company | SMR313283' | Precision Escalator Products | PSSCR319899 | Precision Escalator Products | SMR313283 | Schindler Elevator Corporation | SMR313283
R38300860 | ASSEMBLY, BROKENCHAINSWITCH: FITS: WESTINGHOUSE MOD 100 UNITS, MATERIAL: NYLATRON HEAD, MOUNTING POINTS: IDLER SPROCKET STUB SHAFT, SIDE: RIGHT HAND SIDE, USED ON: DRIVE UNIT POLY CHAIN | EA | [5 empty] | 13 | [5 empty] | ECS Corporation | MSC 1201 G04 | Precision Escalator Products | PW196C125G02 | Schindler Elevator Corporation | MSC 1201G04
R38300863 | LENS, DIRECTIONINDICATOR: COLOR: GREEN, DIMENSIONS: 2.25W X 2.25H X 0.125T INCH, FITS: WESTINGHOUSE ESCALATORS, SHAPE: SQUARE, USED ON: DIRECTIONAL INDICATOR ASSEMBLY | EA | [5 empty] | 50 | [5 empty] | Piedmont Plastics Inc | FAB-R38300863 | Piedmont Plastics Inc | SEC-8L42-3G | Schindler Elevator Corporation | SEC-8L42-3G
R38300864 | LENS, DIRECTIONINDICATOR: COLOR: RED, DIMENSIONS: 2.25W X 2.25H X 0.125T INCH, FITS: WESTINGHOUSE ESCALATORS, NOTES: 0.375 INCH HIGH WHITE STRIPE IN THE CENTER, SHAPE: SQUARE, USED ON: DIRECTION INDICATOR ASSEMBLY | EA | [5 empty] | 55 | [5 empty] | Piedmont Plastics Inc | FAB-R38300864 | Schindler Elevator Corporation | SEC-8L42-4R
R38300866 | LIGHT, UNDERSTEP: FITS: ESCALATOR, HOUSING: 20 GAUGE ZINC COATED STEEL, 3 IN WIDE, INPUT WATTAGE: 11 W, LAMP: T8 17-WATT FLUORESCENT, LENGTH: 26 1/8 IN, LENS: .125 WHITE ACRYLIC, LUMENS: 1400, OPERATING VOLTAGE: 120 VAC, SPECIAL: WET LOCATION, STANDA | EA | [5 empty] | 18 | [5 empty] | ECS Corporation | C2-1203 | ECS Corporation | C2-1203' | Electrical Wholesalers Metro DC, Inc. | C21173' | Electrical Wholesalers Metro DC, Inc. | SEC 12123 | Schindler Elevator Corporation | SEC 12123 | Westinghouse Electric Corp | SEC-12123
R38300922 | OIL, RINGGEAR: BOILING POINT: 500 F, CONTAINER: 4 GAL CASE, SPECIFICGRAVITY: 0.9 @ 60 F, USED ON: KONE GEARS, VISCOSITY: 460 MM^2/S @ 40 C | GL | [5 empty] | 71 | [5 empty] | Kone Inc | P-23317 | Mid Atlantic Chemical Corp | P-23317
R38300924 | OIL, GEAR: BOILING POINT: 510 F, CONTAINER: 55 GAL DRUM, FITS: WORM GEAR, SPECIFICGRAVITY: 0.9 @ 60 F, USED ON: KONE ESCALATOR, VISCOSITY: 680 SUS @ 100 F | GL | [5 empty] | 27 | [5 empty] | Kone Inc | USP23309 | Mid Atlantic Chemical Corp | #8 USP23309
R38300933 | OIL,INDUSTRIAL:CHAIN,20 L PAIL | PA | [5 empty] | 12 | [5 empty] | Kluber Lubrication North Amer | 009002-335 | Kone Inc | 009002-335
R38301048 | BOARD,PRINTED CIRCUIT:VAM,401 OK TRONIC | EA | [5 empty] | 6 | [5 empty] | Kone Inc | DEE2184209
R38301067 | CHAIN:2 STRAND | EA | [5 empty] | 5 | [5 empty] | KettenWulf USA, L.P. | 2431445 | Renold Power Transmission Corp | 2431445
R38301085 | MODULE:FITS VKSD BRAKE | EA | [5 empty] | 1 | [5 empty] | Kone Inc | A01287 | The Hilliard Corp | A01287
R38301107 | TERMINAL:624/T95163/10P1, ESCALATOR | EA | [5 empty] | 1 | [5 empty] | Kone Inc | 2515-815F
R38301124 | SCREW:8MM DIA,12MM LG,COUNTERSUNK HD,ESCALATOR | EA | [5 empty] | 60 | [5 empty] | Kone Inc | DEE3692134 | Mid Atlantic Chemical Corp | 2C66-447-D
R38301184 | CHAIN,STEP:ROLLER | EA | [5 empty] | 1 | [5 empty] | Kone Inc | 07-06-1045 | Renold Power Transmission Corp | 07-06-1045
R38301195 | CONTACTOR:3P | EA | [5 empty] | 1 | [5 empty] | Adams Elevator Company | 345452 | Schindler Elevator Corporation | 345452
R38301226 | GUIDE,HANDRAIL:STEEL | EA | [5 empty] | 13 | [5 empty] | Fujitec America Inc | D62316001
R38301227 | GUIDE,HANDRAIL:TOP STRAIGHT INSERT,4 INCH | EA | [5 empty] | 57 | [5 empty] | Fujitec America Inc | D64053001 | International Process | D64053001
R38301229 | GUIDE,HANDRAIL:LOWER,STEEL | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | D64042001
R38301230 | GUIDE,HANDRAIL:2940MM LG,STEEL | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | D64041001
R38301231 | GUIDE,HANDRAIL:1385MM LG,STEEL | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | D64041005
R38301237 | GUIDE,HANDRAIL:985MM LG,STEEL | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | D64041006
R38301242 | ROLLER, HANDRAILGUIDE: BEARINGS: 348CYZ, COLOR: BLACK, FITS: FUJI ESCALATOR, USED ON: HANDRAIL GUIDE ASSEMBLY, WIDTH: 68 MM | EA | [5 empty] | 15 | [5 empty] | Fujitec America Inc | D99000401
R38301247 | MOLDING:RUBBER | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | D64411001
R38301254 | BAGGAGESTOP, ESCALATOR: DIAMETER: 2 IN, FITS: FUJI ESCALATORS, HEIGHT: 3/4 IN, MATERIAL: METAL, MOUNTING: 2 THREADS | EA | [5 empty] | 46 | [5 empty] | Fujitec America Inc | C68K2-672A1 | Precision Escalator Products | C68K2-672A1
R38301286 | INPUT VOLTAGE: 120 VAC, LIGHT SOURCE: 24 GREEN LED LIGHTS, MATERIAL: WATER RESISTANT. POURED IN EPOXY, MOUNTING: MOUNTS ON TWO STUDS. MOUNTING HOLES ARE 0.185" DIAMETER. MOUNTING HOLES ARE 16.85" APART, SIZE: DIMENSIONS 18.0" X 1.0" X 0.56", WEIGHT 0 | EA | [5 empty] | 25 | [5 empty] | Adams Elevator Company | ESC-DEMARC-LED | Fujitec America Inc | D68078001 | Fujitec America Inc | M401-220-9- DR-HPF | Schindler Elevator Corporation | ESC-DEMARC-LED
R38301292 | LENS, DIRECTIONINDICATOR: COLOR: RED, DIMENSIONS: 2.375W X 2.375H X 0.125T INCH, FITS: FUJI ESCALATORS, NOTES: 0.375 INCH HIGH WHITE STRIPE IN THE CENTER, 4 0.25 INCH HOLES IN THE CORNERS, SHAPE: SQUARE, USED ON: DIRECTION INDICATOR ASSEMBLY | EA | [5 empty] | 2 | [5 empty] | Fujitec America Inc | D68101001 | Fujitec America Inc | PLEXIGLASS2Y23 | Piedmont Plastics Inc | FAB-R38301292 | Piedmont Plastics Inc | PLEXIGLASS2Y23
R38301293 | LENS, DIRECTIONINDICATOR: COLOR: GREEN, DIMENSIONS: 2.375W X 2.375H X 0.125T INCH, FITS: FUJI ESCALATORS, NOTES: 4 - 0.25 INCH HOLES IN THE CORNERS, SHAPE: SQUARE, USED ON: DIRECTION INDICATOR ASSEMBLY | EA | [5 empty] | 8 | [5 empty] | Fujitec America Inc | D68101002 | Piedmont Plastics Inc | D68101002 | Piedmont Plastics Inc | FAB-R38301293
R38301299 | BRAKE:FITS MACHINE 7/8 BORE W/ 1/8 KEYWAY | EA | [5 empty] | 9 | [5 empty] | Fujitec America Inc | D62556001 | Matrix Engineering | 1EB70R-19 | Matrix International | D62556001
R38301300 | BRAKE, ELECTROMAGNETIC: DRAWING: ATTACHED, FITS: FUJI ESCALATORS, NOTES: MACHINE 1-1/8 INCH BORE W/ 1/4 INCH X 1/8 INCH KEYSTOCK, USED ON: BRAKE SYSTEM | EA | [5 empty] | 8 | [5 empty] | Fujitec America Inc | 1EB70R-18 | Fujitec America Inc | D62557 | Matrix International | 1EB70R-18 | Matrix International | D62557001
R38301301 | BRAKE:OUTTER PLATE | EA | [5 empty] | 5 | [5 empty] | Matrix International | 1EB70-2502
R38301302 | BRAKE:SPACER SLEEVE | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | 1ER70-4009 | Matrix International | 1EB70-4009
R38301307 | DISC,BRAKE: | EA | [5 empty] | 2 | [5 empty] | Fujitec America Inc | 1EB70-2003 | Matrix Engineering | 1EB70-2003 | Matrix International | D62671001
R38301333 | ENCODER: | EA | [5 empty] | 1 | [5 empty] | Bei Sensors & Systems Company | D65038001 | Fujitec America Inc | D65038001
R38301334 | WHEEL:STOP | EA | [5 empty] | 10 | [5 empty] | Fujitec America Inc | D65166001 | Precision Escalator Products | PFD65166001
R38301341 | MATERIAL:CLEAR POLYCARBONATE LEXAN,48 IN X 96 IN X 0.375 IN | EA | [5 empty] | 6 | [5 empty] | Acme Plastics Inc. | 1341 | Piedmont Plastics Inc | 48"X96"X.375" POLYC | Total Plastics | PCS00375CLR000026
R38301360 | SWITCH,LIMIT: | EA | [5 empty] | 6 | [5 empty] | Fujitec America Inc | C65129001
R38301366 | COUPLING, SHAFT: FITS: MONGOMERY ESCALATORS, OUTSIDE DIAMETER: 7 IN, THICKNESS: 1 IN, USED ON: CONNECTING THE MOTOR TO THE GEARBOX | EA | [5 empty] | 2 | [5 empty] | ECS Corporation | P-07956 | Kone Inc | KM51189460G01 | Kone Inc | P-07956
R38301379 | GUIDE,HANDRAIL:TOP CURVE INSERT,4 INCH | EA | [5 empty] | 43 | [5 empty] | Fujitec America Inc | D64054001 | International Process | 201446 | International Process | D64054001 | Precision Escalator Products | PFD625DD008
R38301385 | SWITCH,ESCALATOR:PLUNGER | EA | [5 empty] | 7 | [5 empty] | Fujitec America Inc | D64094001
R38301394 | GENERATOR: | EA | [5 empty] | 2 | [5 empty] | Fujitec America Inc | D 65160001
R38301396 | ENCODER:SHAFT | EA | [5 empty] | 2 | [5 empty] | Sensors Incorporated | FPX2036XSX2048 | Sensors Incorporated | FXP2036XSS2048 | TEPCO Elevator Parts | FXP2036XSS2048
R38301400 | IDLER, HANDRAILDRIVE: HANDRAIL DRIVE DUAL IDLER, ADJUSTABLE SPROCKET, COMPONENT: BRACKET AND 2 SPROCKETS, DRAWING ATTACHED, FITS: HANDRAIL DRIVE SYSTEM, TYPE: 80 CHAIN, USED ON: FUJITEC ESCALATORS | EA | [5 empty] | 8 | [5 empty] | Fujitec America Inc | C62659001 IDLER ASSY | Mid Atlantic Chemical Corp | C62659001 IDLER ASSY
R38301401 | TOOL, INDEXMEASUREMENT: FITS: ESCALATORS, HOUSING: COATED STEEL, RANGE: 7.6 MM, RESOLUTION: LINEAR POSITION 0.04 MM, USED ON: TESTING STEP/SKIRT FRICTION, WEIGHT: 3.6 KG, WORKS WITH: R38301402 - MEASUREMENT TOOL, R38301424 - INDEX FRICTION CARD | EA | [5 empty] | 10 | [5 empty] | Adams Elevator Company | IMD-1 | Physical Measurement | IMD-1
R38301402 | TOOL, DATACOLLECTOR: STEP INDEX DATA COLLECTOR, NOTES: FLASH DRIVE UPGRADE, USED ON: DATA COLLECTION FOR STEP INDEX READING, WORKS WITH: R38301401 STEP INDEX TOOL | EA | [5 empty] | 13 | [5 empty] | Adams Elevator Company | MMC-1 | Adams Elevator Company | MMC-1 w/MMCFDU | Physical Measurement | MMC-1 FDU | Physical Measurement | MMC-1 w/MMCFDU | Schindler Elevator Corporation | MMC-1
R38301406 | SWITCH,ESCALATOR:DETECTOR | EA | [5 empty] | 6 | [5 empty] | Adams Elevator Company | 5225D67G04 | TEPCO Elevator Parts | 5225D67G04S
R38301419 | DECKING,ESCALATOR:INTERIOR BOTTOM LEFT | EA | [5 empty] | 2 | [5 empty] | Schindler Elevator Corporation | 5211D02H03
R38301426 | SWITCH,ESCALATOR:RESET,CERTIFICATION COMBIMPACT | EA | [5 empty] | 2 | [5 empty] | Adams Elevator Company | 996711 | Schindler Elevator Corporation | 286-896
R38301430 | DRIVE:SERVICE CONTROL ASSEMBLY | EA | [5 empty] | 3 | [5 empty] | Adams Elevator Company | 196C390G01 | Schindler Elevator Corporation | 196C390G01
R38301433 | MODULE:BRAKE/CLUTCH CONTROL | EA | [5 empty] | 5 | [5 empty] | Motion Industries | 6001-448-004 | Precision Escalator Products | 6001-448-004
R38301477 | SHIM:STEP,0.3MM THK,FUJITEC ESCALATOR | EA | [5 empty] | 3277 | [5 empty] | Precision Escalator Products | PFD62447002S
R38301478 | ROLLER,ESCALATOR:INNER BUSHING,FUJITEC | EA | [5 empty] | 17 | [5 empty] | Precision Escalator Products | PFD62449001
R38301482 | TRACK,ESCALATOR:GUIDE STRAIGHT,2.5 IN HANDRAIL,FUJITEC | EA | [5 empty] | 16 | [5 empty] | Precision Escalator Products | PFD625DD003
R38301504 | BOX:SPIDER | EA | [5 empty] | 1 | [5 empty] | Applied Industrial Technologies | L225SOX
R38301505 | INSERT:SPIDER BOX | EA | [5 empty] | 2 | [5 empty] | Applied Industrial Technologies | L276SOX | Fujitec America Inc | L276SOX
R38301509 | CABLE,BRAKE: | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | C65W4-877A1
R38301510 | STARTER,ELECTRIC MOTOR:SOFT,AC DRIVE | EA | [5 empty] | 1 | [5 empty] | Innovative Automation and Controls | ACS550U1023A4 | TEPCO Elevator Parts | ACS550U1023A4 | Thermal Devices | ACS550U1023A4
R38301511 | FITTING:ZERK | EA | [5 empty] | 11 | [5 empty] | Ritter Technology Llc | A336
R38301521 | BELT,V:DRIVE,PW3VX530 | EA | [5 empty] | 8 | [5 empty] | Adams Elevator Company | 5211D92H07 | Adams Elevator Company | HA-870-AA4 | Precision Escalator Products | PW3VX530 | Southern Elevator & Electric | MIS-BLT14
R38301523 | SEAL:GEARBOX DRIVE SHAFT | EA | [5 empty] | 5 | [5 empty] | Precision Escalator Products | PWRP08001H01
R38301552 | CHASSIS, SLC500: PLC RACK/ I/O CHASSIS FOR 1746 I/O MODULES, DIMENSIONS: 171X 282 X 145MM (HXWXD), MOUNTING: BACK-PANEL MOUNT, NOTES: 7 SLOTS, USED ON: WESTINGHOUSE UNITS, WORKS WITH: SLC 1746 COMPONENTS | EA | [5 empty] | 1 | [5 empty] | Branch Electric Supply Company | 1746-A7 | Tektronics Electronics Components, Inc. | 1746-A7 | TEPCO Elevator Parts | 1746-A7 | Thermal Devices | 1746-A7
R38301559 | MOTOR:PANEL MOUNT | EA | [5 empty] | 5 | [5 empty] | Unknown | 0SJ60B6-150
R38301575 | DRIVE,AC MOTOR:25 HP | EA | [5 empty] | 1 | [5 empty] | Thermal Devices | ACS5500U1038-A | Unknown | ACS401602032
R38301576 | DRIVE,AC MOTOR:15 HP | EA | [5 empty] | 7 | [5 empty] | ABB Inc. | ACS555-U1-023A-4 | E J Varholy & Sons | ACS550U1023A-4 | Innovative Automation and Controls | ACS550U1023A-4
R38301580 | RELAY:REVERSE PHASE | EA | [5 empty] | 5 | [5 empty] | Innovative Automation and Controls | ISVR430824R9300 | Thermal Devices | ISVR430824R9300
R38301596 | LENS,ESCALATOR:BALUSTRADE | EA | [5 empty] | 5 | [5 empty] | Kone Inc | US92235001
R38301633 | BASE:SURFACE MOUNT | EA | [5 empty] | 2 | [5 empty] | Control Corp Of America | 10.0740 | TEPCO Elevator Parts | 10.0740
R38301667 | BRAKE:PC BOARD | EA | [5 empty] | 2 | [5 empty] | Schindler Elevator Corporation | 2711-K5A2 | Tektronics Electronics Components, Inc. | 2711-K5A2 | Thermal Devices | 2711-K5A2
R38301713 | RING,RETAINING: | EA | [5 empty] | 184 | [5 empty] | Fujitec America Inc | D00915256 | Precision Escalator Products | PFD00915256
R38301715 | SCREW,MACHINE:4MM DIA,0.7MM,FLAT PHILLIPS HD | EA | [5 empty] | 47 | [5 empty] | Fujitec America Inc | D00905013
R38301720 | BRAKE: | EA | [5 empty] | 2 | [5 empty] | Fujitec America Inc | 1EB70R-33 | Matrix Engineering | 1EB70R-33
R38301721 | ASSEMBLY:CLUTCH & FRICTION PLATE | EA | [5 empty] | 7 | [5 empty] | Fujitec America Inc | 1EB070-2004 | Matrix Engineering | 1EB070-2004
R38301732 | STEP,ESCALATOR:UNI ASSEMBLY | EA | [5 empty] | 176 | [5 empty] | Adams Elevator Company | 7206D04G01AY
R38301734 | PANEL:LIGHT FRAME,BRONZE | EA | [5 empty] | 5 | [5 empty] | Schindler Elevator Corporation | S-4709-7 | Trans-Lite Division of Teknoware | S-4709-7
R38301735 | PANEL:LIGHT HOUSING,BRONZE | EA | [5 empty] | 5 | [5 empty] | Schindler Elevator Corporation | S-4709-6 | Trans-Lite Division of Teknoware | S-4709-6
R38301739 | SEAL:GEARBOX RETAINER | EA | [5 empty] | 2 | [5 empty] | Kone Inc | US28840
R38301757 | ENCODER:ESCALATOR | EA | [5 empty] | 10 | [5 empty] | Fujitec America Inc | 01039-2912 | TEPCO Elevator Parts | 01039-2912
R38301759 | SPRING:CLIP,BALUSTRADE PANEL | EA | [5 empty] | 180 | [5 empty] | Kone Inc | US58351
R38301775 | ANTI-STATIC DEVICE KIT-FUJITEC P/N: C68ZX-2410A1 | EA | [5 empty] | 2 | [5 empty] | Fujitec America Inc | C68ZX-2410A1
R38301785 | CABLE, INTERFACE: CABLE LENGTH: 5 FT, PLC TO MMI-100 CABLE, PLC TYPE: AB SLC500 W/ DH485 PORT, TYPE: SMIC | EA | [5 empty] | 6 | [5 empty] | E J Varholy & Sons | SMICAB500-05 | Tektronics Electronics Components, Inc. | SMICAB500-05
R38301805 | GUARD:GUIDE,RUBBER,HANDRAIL ENTRY | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | D64090001
R38301806 | BOX,ELECTRICAL:EMERGENCY-STOP | EA | [5 empty] | 3 | [5 empty] | Fujitec America Inc | D65666001 | Mid Atlantic Chemical Corp | D65666001
R38301819 | WEDGE:RIGHT HAND COMBPLATE IMPACT | EA | [5 empty] | 3 | [5 empty] | Kone Inc | 68582-002 | Kone Inc | US68582002
R38301842 | MAGNET:BRAKE | EA | [5 empty] | 4 | [5 empty] | Kone Inc | KM3684682
R38301865 | REDUCER:DRIVE SHEAVE,SCHINDLER REHAB UNITS | EA | [5 empty] | 1 | [5 empty] | Applied Industrial Technologies | 303V 1060 SK | TEPCO Elevator Parts | 303V 1060 SK | Unknown | 3 3V 1060 SK
R38301886 | ROLLER,ESCALATOR:HR RETURN | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | D62833001
R38301897 | BUSHING: | EA | [5 empty] | 5 | [5 empty] | Fujitec America Inc | D68447001 | Fujitec America Inc | PN-D68447001
R38301901 | BRAKE:MACHINE | EA | [5 empty] | 4 | [5 empty] | Fujitec America Inc | D62K19001 | Unknown | 150/891.065.1 | Unknown | 150/891.065.1 S0 104W
R38301903 | DISC,BRAKE: | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | D62L41001
R38301915 | PLATE:FACE | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | C64998001
R38301937 | CONTACTOR, REVERSING: COIL: 120VAC, FITS: FUJITEC, HP RATING: 30 @ 480VAC, RATING: 60A | EA | [5 empty] | 2 | [5 empty] | Fujitec America Inc | A40R-30-01-84 | Innovative Automation and Controls | A40R-30-01-84
R38301938 | CONTACTOR, MOTOR: AUXILIARY CONTACT: 2NO; 2NC, COIL: 110~120 VAC, FUJI #4 CONTACTOR, CONSTRUCTION: FRAME SIZE-A50, DEPTH: 4.25 INCH, ELECTRICAL RATING: 80A, HEIGHT: 4.33IN, POLE: 3NO, TYPE: MAGNETIC NON-REVERSING, USED ON: FUJI CONTROLLER AT B35, WID | EA | [5 empty] | 1 | [5 empty] | ABB Inc. | A50-30-22-84 | Allied Electronics Inc | 70318544 | Allied Electronics Inc | A50-30-22-84 | Fujitec America Inc | D05B24004 | Tektronics Electronics Components, Inc. | D05B24004
R38301951 | LIGHT:DEMARCATION | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | D68377001
R38301963 | LIGHT,LIGHT EMITTING DIODE:RED | EA | [5 empty] | 14 | [5 empty] | Fujitec America Inc | D683640002 | Fujitec America Inc | DBM618-OER-024W | Ledtronics Inc | D683640002 | Ledtronics Inc | DBM618-OER-024W
R38301964 | LIGHT,LIGHT EMITTING DIODE:GREEN | EA | [5 empty] | 18 | [5 empty] | Fujitec America Inc | D683640001 | Fujitec America Inc | DBM618 OBG-024W | TEPCO Elevator Parts | D683640001 | TEPCO Elevator Parts | DBM618 OBG-024W
R38301978 | MONITOR:GROUND FAULT | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | D05A14001 | Unknown | VT120/2
R38301996 | RELAY:PHASE MONITOR,480V | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | PLR480A | Southern Elevator & Electric | PLR480A | Thermal Devices | PLR480A
R38302002 | RELAY:24VDC | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | G2R-2-SND-24VDC | Newark Electronics | G2R-2-SND-24VDC | Phoenix Sales & Service Corp | G2R-2-SND-24VDC | Tektronics Electronics Components, Inc. | G2R-2-SND-24VDC
R38302008 | BLOCK,TERMINAL: | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | D05799001
R38302010 | BREAKER, CIRCUIT: AMPERAGE: 1A, CERTIFICATION: UL TYPE 1077, INTERRUPT CAPACITY: 10K, MOUNTING: DIN RAIL, POLE: 1, VOLTAGE: 120V | EA | [5 empty] | 6 | [5 empty] | ABB Inc. | S201P-K1 | E J Varholy & Sons | 0000000354_00 | Innovative Automation and Controls | 0000000354_00
R38302020 | OPERATOR: | EA | [5 empty] | 5 | [5 empty] | Fujitec America Inc | 800EP-KR21
R38302028 | DISC:HANDRAIL,PULSER | EA | [5 empty] | 10 | [5 empty] | Fujitec America Inc | D65448003
R38302048 | BUCKET:LEFT HAND OIL | EA | [5 empty] | 5 | [5 empty] | Kone Inc | USP23426
R38302058 | TRACK, HANDRAIL: FITS: WESTINGHOUSE MODULAR UNITS, MATERIAL: ALUMINUM, NOTES: UPPER CURVE, NON-GLASS UNITS, USED ON: HANDRAIL SYSTEM | EA | [5 empty] | 2 | [5 empty] | Precision Escalator Products | PW0600202
R38302064 | MOTOR, AC: BEARING TYPE: DOUBLE SHIELDED 6308ZZ, CURRENT: 9.7 AMP, ENCLOSURE: ODP, FITS: MOD 250, FRAME: 213T, FRAME MATERIAL: CAST IRON, FREQUENCY: 50/60, MOUNT: FOOT, OVERALL LENGTH: 15.85 IN, PHASE: 3, POWER: 7-1/2 HP, ROTATION: REVERSIBLE, RPM: 1 | EA | [5 empty] | 9 | [5 empty] | Central Armature Works Inc | ECP3770T | Motion Industries | 02700446
R38302071 | RING:SMAP,FUJITEC,CERTIFICATION **** | EA | [5 empty] | 426 | [5 empty] | Neopart LLC | AK0700001-110
R38302085 | SIGN:OUT OF SERVICE,ESCALATOR | EA | [5 empty] | 2 | [5 empty] | FASTSIGNS | Esc-Banner
R38302109 | LADDER,EXTENSION:SAFETY | EA | [5 empty] | 15 | [5 empty] | Bilco Company | 2LU-2
R38302276 | BELT,V:5VX710 | EA | [5 empty] | 15 | [5 empty] | Applied Industrial Technologies | 5VX710
R38302294 | KIT:CONTAINS 7/16 IN RED GIB P/N A908R100 | EA | [5 empty] | 72 | [5 empty] | Adams Elevator Company | A908R100
R38302392 | FUSE:DISCONNECT,30AMP,MOTOR PANEL | EA | [5 empty] | 11 | [5 empty] | E J Varholy & Sons | OSJ30-B6-150 | Tektronics Electronics Components, Inc. | OSJ30-B6-150
R38302412 | ROLLER, BROKEN: BEARING NUMBER: 6203 RS, FITS: MOD 100 BROKEN BELT ASSEMBLY, MATERIAL: ALUMINUM ROLLER WITH OUTSIDE DIAMETER OF 2 INCHES COVERED BY A RUBBER TIRE, OUTSIDE DIAMETER: 2.42 INCHES, WIDTH: 1.25 INCHES, WORKS WITH: R38300882 | EA | [5 empty] | 44 | [5 empty] | ECS Corporation | S000200171
R38302413 | HOUSING:PANEL LIGHT | EA | [5 empty] | 10 | [5 empty] | Schindler Elevator Corporation | S-4709-6 Rev J / S-4709-6&8 | Trans-Lite Division of Teknoware | S-4709-6 Rev J / S-4709-6&8
R38302501 | HEATER, FLOORPLATE: ELEMENT SIZE: 38-15/16-IN, FITS: MOD 100 AND MOD 250, RATING: 3.6KW, 275-V, SIZE: 43-15/16 L, TYPE: RADIANT | EA | [5 empty] | 4 | [5 empty] | Tektronics Electronics Components, Inc. | URAD53TLV | Thermal Devices | 119255 | Thermal Devices | U-RAD-7LTV
R38302504 | CABLE:PROXIMITY SENSOR | EA | [5 empty] | 4 | [5 empty] | Newark Electronics | WK4T-12/S90
R38302527 | ROLLER:STEP (COMPOSITE HUB) | EA | [5 empty] | 5 | [5 empty] | Adams Elevator Company | SOS242073
R38302582 | ENCODER: | EA | [5 empty] | 11 | [5 empty] | Jobe & Co Inc. | 25T11 SE 2048 N VI Q HV SMX S3
R38302586 | CABLE:DH485,3 METER | EA | [5 empty] | 30 | [5 empty] | Autotech Technologies LP | EZ-DH485-CBL
R38302594 | SKIRT:BRUSH KIT 8 FT | FT | [5 empty] | 58 | [5 empty] | Precision Escalator Products | PE0100777
R38302595 | DECKING, WEDGE: COLOR: BLACK, FITS: JONES REHAB GLASS UNITS, PACKAGE: 8 FT SECTIONS, SHAPE: TAPERED FROM 21 MM, USED ON: MOUNTING SKIRT BRUSH | FT | [5 empty] | 10 | [5 empty] | Precision Escalator Products | PE0100780
R38302596 | SKIRT:BRUSH,TRANSITION PC | EA | [5 empty] | 24 | [5 empty] | Precision Escalator Products | PE0100781
R38302597 | HEATER:HORIZONTAL BLOWER | EA | [5 empty] | 9 | [5 empty] | Thermal Devices | LUH-D-07-43-32-40
R38302598 | BOARD:TIMER,5-60 SEC,24V | EA | [5 empty] | 5 | [5 empty] | Adams Elevator Company | 32746 | Adams Elevator Company | 145-05064-304 | Southern Elevator & Electric | US-PC13A
R38302599 | SENSOR,PROXIMITY:INDUCTIVE,30MM,2M | EA | [5 empty] | 5 | [5 empty] | Newark Electronics | 16C4235 | Newark Electronics | IA30DSN22DO
R38302601 | SPROCKET:IDLER,DRIVE CHAIN | EA | [5 empty] | 1 | [5 empty] | Fujitec America Inc | D62B5-672B1
R38302602 | CHAIN, STEP: 1 PIECE: 10 STEPS / 30 LINKS, LEFT & RIGHT SIDE, BREAKING LOAD: 520KN, DUPONT CIRCLE STEP CHAIN, FITS: SCHINDLER 9700, HEIGHT OF SIDEBAR: 75MM, INNER WIDTH OF INNER LINK: 38.4 MM, NOTES: 29 PIECES FOR WHOLE ESCALATOR, PIN DESIGN: RETAINI | PR | [5 empty] | 1 | [5 empty] | KettenWulf USA, L.P. | 101760 | KettenWulf USA, L.P. | SVS50632147
R38302605 | CAP:END | EA | [5 empty] | 20 | [5 empty] | Precision Escalator Products | PE0100779
R38302607 | HOLDER,FUSE:CLASS CC FUSE,30AMP,600V,DIN RAIL MOUNT | EA | [5 empty] | 5 | [5 empty] | F I C Corporation | LPSC001ID
Total Cost (Base Option X Estimated Quantity)